## Slide 1: Radioimmunoassay & Enzyme Linked Immunosorbent Assay
M K Unnikrishnan [Aug 2006]

## Slide 2: Principle of Radioimmunoassay
Principle: Uses an immune reaction [Antigen – Antibody reaction] to estimate a ligand
  Ag + Ag* + Ab  AgAb + Ag*Ab + Ag + Ab*
  Unbound Ag* and Ag washed out
  Radioactivity of bound residue measured
  Ligand conc is inversely related to radioactivity
  [Ag : ligand to be measured ; Ag* radiolabelled ligand]

## Slide 3: Advantages & Disadvantages of RIA
Advantages
  Highly specific: Immune reactions are specific
  High sensitivity : Immune reactions are sensitive
Disadvantages
  Radiation hazards: Uses radiolabelled reagents
  Requires specially trained persons
  Labs require special license to handle radioactive material
  Requires special arrangements for
    Requisition, storage of radioactive material
    radioactive waste disposal.

## Slide 4: Requirements for RIA
Preparation & characterisation of the Antigen [Ligand to be analysed]
Radiolabelling of the Antigen
Preparation of the Specific Antibody
Development of Assay System

## Slide 5: Preparation & Radiolabelling of the Antigen
Antigens prepared by..
  Synthesis of the molecule
  Isolation from natural sources
Radiolabelling [Tagging procedure]
  3 H 14 C 125 I are used as radioactive tags
  Antigens are tagged to 3 H 14 C 125
  Tagging should NOT affect Antigenic specificity & Antigenic activity !

## Slide 6: Preparation of the Specific Antibody
Antigen injected intradermally into rabbits or guinea pigs  antibody production
Antibodies recovered from the serum
Some ligands are not Antigenic
  Hormones, Steroids, Drugs  HAPTENS
  Eg: Gastrin, Morphine,
  Haptens conjugated to albumin  antigenic

## Slide 7: Development of the Assay System
A crucial step is separation of unbound antigens
This achieved by binding the antibodies to the microtitre well surface [Solid phase RIA]
Antigens bound to the fixed antibodies remain stuck to the inner surface
Decanting & washing the well removes unbound antigens
Other techniques of separation: Centrifugation

## Slide 8: Assay Procedure
Add known amounts of the test sample + labelled antigen into the microtitre wells
Incubate  allow the reaction to reach completion
Decant & wash contents of the well  removes all unbound antigens
Radioactivity remaining in the Microtitre wells measured by a Counter [GM counter , Scintillation counter etc]
Intensity of radioactivity is inversely correlated with the conc of antigens in the test sample
Sensitive to very low conc of antigens

## Slide 9: Enzyme Linked Immunosorbent Assay
Principle:
  Uses an immune reaction like RIA
  Differs from RIA in detection method
  Detection based on
    Enzyme catalysed reaction OR
    Fluorescent probe
    NOT radioactivity [great advantage!]

## Slide 10: Advantages of ELISA
Sensitive: nanogram levels or lower
Reproducible
Minimal reagents
Qualitative & Quantitative
  Qualitative  Eg HIV testing
  quantitative assays  Eg Ther. Drug Monitoring
Greater scope : Wells can be coated with Antigens OR Antibodies
Suitable for automation high speed
NO radiation hazards

## Slide 11: Types of ELISA
Noncompetitive binding assay or Sandwich method
  Antigen measuring system [Titrewells coated with antibodies ; Enzyme labelled antibodies]
  Antibody measuring system [Titrewells coated with antigens ; Enzyme labelled antiantibodies]
Competitive binding assay [Titrewells coated with antibodies ; Enzyme labelled antigens]

## Slide 12: Noncompetitive or Sandwich Assay
Antigen measuring system
  Titre wells coated with suitable antibody
  Add patient sample containing the antigen
  Incubate: till antigen antibody reaction is complete
  Wash remove unbound antigen
  Add Antibody labelled with Enzyme
  Incubate till antigen binds labelled antibody
  Wash  remove unbound labelled antibody
  Add substrate ; incubate
  Enzyme + Substrate  Product  measure colour
  Colour proportional to antigen in patient sample

## Slide 13: Noncompetitive or Sandwich Assay
Antibody measuring system
  Titre wells coated with suitable antigen
  Add patient sample containing the antibody
  Incubate: till antigen antibody reaction is complete
  Wash remove unbound antibody
  Add Antiantibody labelled with Enzyme
  Incubate till labelled antiantibodies binds antigen-antibody complex
  Wash  remove unbound labelled antiantibody
  Add substrate ; incubate
  Enzyme + Substrate  Product  measure colour
  Colour proportional to antibody in patient sample

## Slide 14: Competitive binding assay
Titrewells coated with antibodies
Known quantities of patient sample containing antigen + antigen labelled with enzyme
Incubate: till antigen antibody reaction is complete
Wash remove unbound antigens
Add substrate ; incubate
Enzyme + Substrate  Product  measure colour
Colour inversely related to antigen in patient sample

## Slide 15: Enzyme labels
Enzyme labels should have high specific reactivity
Should be easily coupled to ligands & the labelled complex must be stable
The reactivity should be retained after linking of the enzyme to the antigen/antibody
The chosen enzymes should not be normally present in the patient samples
Examples of enzyme labels
  Horse radish peroxidase, Alkaline phosphatase, Glucose oxidase

## Slide 16: Applications of Immunoassays [RIA & ELISA]
Analysis of hormones, vitamins, metabolites, diagnostic markers
  Eg. ACTH, FSH, T3, T4, Glucagon, Insulin, Testosterone, vitamin B12, prostaglandins, glucocorticoids,
Therapeutic drug monitoring:
  Barbiturates, morphine, digoxin,
Diagnostic procedures for detecting infection
  HIV, Hepatitis A, B etc