## Slide 1: COOMBS TEST

## Slide 2: Indirect Coombs test (Indirect Antiglobulin test):
This test is performed to detect presence of Rh-antibodies or other antibodies in patients serum in case of the following:
1. To check whether an Rh-negative women (married to Rh-positive husband) has developed Anti Rh-antibodies
2. Anti D may be produced in the blood of any Rh-negative person by exposure to D antigen by-
    Transfusion of Rh positive blood
    Pregnancy, if infant is Rh positive (if father is Rh-positive)
    Abortion of Rh-positive fetus.

## Slide 3
Requirements:
Test tubes: (10x75 mm)
Pasteur pipettes
Incubator
Centrifuge
Specimen: Serum (need not be fasting)
Reagents:
Antihuman serum
Anti-D serum
Additional Requirements:
Coombs control cells
  A. Make a pooled ‘O’ Rho (D) positive cells from at least three different ‘O’ positive blood samples.
  B. Wash these cells three times in normal saline (these cells should be completely free from serum with no free antibodies). Make 5 % saline
  suspension of these cells

## Slide 4
Procedure:
Label three test tubes as ‘T” (test serum) PC (Positive control) and NC (negative control).
In the tube labelled as ‘T’, add two drops of Anti-D serum
In the tube ‘PC’ add one drop of saline
Add one drop of 5 % saline suspension of the pooled ‘O’ Rho (D) positive cells in each tube.
Incubate all the three tubes for one hour at 37°C

## Slide 5
Procedure: (cont.)
Wash the cells three times in normal saline to remove excess serum with no free antibodies, (in the case of inadequate washings of the red cells, negative results may be obtained).
Add two drops of Coombs serum (anti human serum) to each tube. Keep for 5 minutes and then centrifuge at 1,500 RPM for one minute.
Resuspend the cells and examine macroscopically as well as microscopically

## Slide 6
 |  | Observations | Conclusions
1 | Positive Control (PC) | Agglutination No Agglutination | Correctly performed test procedure. Coombs serum may not be proper. Repeat the test again.
2 | Negative control (NC) | It should show no agglutination, since saline does not contain Anti-D or any other antibodies. | 
3 | Test (Serum) (T) | Agglutination (and if PC results are correct) No Agglutination | Patients serum contains Anti-D. Patients serum does not contain Anti-D.
Test Interpretation:

## Slide 8: Direct Coombs test (direct antiglobulin test):
This test is performed to detect anti-D antibody or other antibodies attached to the red cell surface within the blood stream.
This occurs in the following circumstances:
  When there is a Rh-positive baby in the womb of a sensitized Rh-negative women; the antibodies produced in the mothers serum cross the placenta and after entering the baby's blood stream, these antibodies will attach to the baby's Rh-positive red blood cells. These coated (or sensitized) cells are clumped and removed from the circulation, causing hemolytic anemia (Hemolytic Disease of the Newborn: Erythroblastosis Fetalis). When the baby is born, the baby's blood is collected (or cord blood is collected from umbilical cord) and tested by the anti globulin Coombs test (direct) to detect anti D antibodies coated on red blood cells.
  Transfusion reactions
  Drug induced red cells sensitization
  Autoimmune hemolytic anemia

## Slide 9
Requirements: (same as that for Indirect Coombs test)
Test tubes: (10x75 mm)
Pasteur pipettes
Incubator
Centrifuge
Specimen: Blood drawn into EDTA is preferred but oxalateed, or clotted, citrated whole blood may be used (specimen need not be fasting sample)

## Slide 10
Procedure:
Prepare a 5 % suspension in isotonic saline of the red blood cells to be tested.
With clean Pasture pipette add one drop of the prepared cell suspension to a small tube.
Wash three times with normal saline to remove all the traces of serum.
Decant completely after the last washing
Add two drops of Antihuman serum.
Mix well and centrifuge for one minute at 1500 RPM.
Resuspend the cells by gentle agitation and examine macroscopically and microscopically for agglutination.